| RISK ASSESSMENT FOR: | PREMISES at Tresillian House, 67 Dalby Road, Melton Mowbray Leicestershire, LE13 0BQ |  |
| --- | --- | --- |
| Establishment: Students International Ltd | Assessment by: Kirstie Thompson | Date: 8.1.18 |  |
| 1st Review Date Due : 30.6.18 | Manager Approval: Alison Blythe | Date: 8.1.18 |  |

| Hazard / Risk | Who is at Risk? | How can the hazards cause harm? | Normal Control Measures | Are Normal Control Measures Y/N/NA |
| --- | --- | --- | --- | --- |
|  |  |  |  | In Place | Adequate |
| Defective flooring Slips Trips Falls | Staff Pupils Visitors Contractors | Cuts / abrasions, muscular skeletal and other physical injuries. Fractures | Condition of premises regularly checked Prompt maintenance of defects Adequate external lighting during working hours | Y | Y |
| Liquid spillages / Slips, Falls | Staff Pupils Visitors Contractors | Cuts / abrasions, muscular skeletal and other physical injuries. Fractures | No liquids are allowed in class All spillages to be dealt with immediately Wet floor signs to be used when appropriate Dry mop floors after cleaning up initial spillage Appropriate footwear worn Pupils, visitors etc to be kept away from spill area during cleaning. | Y | Y |
| Items stored in corridor / walkways Trips, Falls, fire risk, obstructed escape | Staff Pupils Visitors Contractors | Cuts / abrasions, muscular skeletal and other physical injuries. Fractures | Good housekeeping maintained Regular inspection Ensure bags and coats are not blocking corridors / walkways | Y | Y |
| Trailing electrical cables | Staff Pupils Visitors Contractors | Cuts / abrasions, muscular skeletal and other physical injuries. Fractures | Trailing leads kept to a minimum Sufficient outlets to support the range of equipment normally used. Use extension leads and adaptors only where necessary Use of cable covers where cables are a trip hazard Use nearest available socket to reduce need for extension leads | Y | Y |
| Electrical equipment & sockets Electrocution Fire Electrical burns | Staff Pupils Visitors Contractors | Electrical shock Burns Fire | Pre-use check conducted by users Electrical equipment subject to regular safety inspection and test ('PAT testing') each December All tested appliances to be labelled showing date tested / next test date Fixed Installation testing completed (5yearly min) and any remedial work actioned. Mains powered portable equipment protected by RCD to distribution board, wall socket or lead in higher risk situations, e.g., equipment used outside or in wet conditions, and for equipment where there is a risk of cables being severed. System for reporting faults and taking equipment out of service in place | Y | Y |
| Hot Surfaces Hot water from taps | Staff Pupils Visitors Contractors | Burns / scalds shock | Younger students only on premises in summer period when radiators are not on Hot surfaces in kitchen / server protected. Students do not go between table and AGA Thermostatic mixing valves fitted to disabled toilet sink Temperatures monitored ( 30 deg c max) | Y | Y |
| Open or broken windows / Falls, cuts, injury | Staff Pupils Visitors Contractors | Cuts / abrasions, muscular skeletal and other physical injuries Broken bones Significant head / multiple injuries | Warning signs by upstairs windows against risk of falling. Students no longer allowed upstairs. French doors hinged back to wall if open All glazing in vulnerable areas of toughened glass All such glazing to be appropriately marked / etched. As replacement is necessary glazing to BS 6206 used | Y | Y |
| Defective furniture/ equipment Injury | Staff Pupils Visitors Contractors | Cuts / abrasions, muscular skeletal and other physical injuries | Furniture and fittings must be regularly inspected and defects reported. Staff aware of arrangements for above. | Y | Y |
| Access / egress Trips, Falls, fire risk, obstructed escape Inadequate lighting of exit routes | Staff Pupils Visitors Contractors | Cuts / abrasions, muscular skeletal and other physical injuries Fire evacuation hindered/unsafe access/egress | Adequate space, circulation routes and emergency exits. Entrances and exits are clearly signed and well lit and kept free from obstructions. Arrangements in place to ensure access maintained in snowy / icy conditions All escape routes should be sufficiently lit for people to see their way out safety. Extent of emergency lighting reviewed considering all areas of school used outside of ambient daylight hours / without natural daylight Ensured that all escape routes are adequately lit in event of a power failure. Where ambient light is not sufficient torches may be acceptable for trained staff to use. |  |  |
| Fire Property damage Smoke inhalation Physical injury Burns | Staff Pupils Visitors Contractors | Major injury Burns Property damage | Detailed Fire Risk Assessment conducted and reviewed annually Rubbish not allowed to accumulate. Storage areas kept tidy. Layout allows for unrestricted movement and safe circulation. Staff familiar with evacuation procedure, location of nearest call point and extinguisher. Fire exits checked daily for obstruction / ease of opening. Fire alarm tested weekly, drills conducted termly. Fire exits clearly marked and fire evacuation notices posted throughout site / in each classroom. Fire doors checked regularly (self closures operating, doors close freely etc.) | Y | Y |
| Service cupboards / plant rooms Inappropriate use Fire | Staff Pupils Visitors Contractors | Fire Major injury Property damage Electric shock | All such areas out of bounds to staff and students No general storage to be kept in such areas. Adequate lighting available. Fire fighting equipment, detection etc in place. | Y | Y |
| Inadequate lighting / other welfare facilities | Staff Pupils Visitors Contractors | Dissatisfaction / stress Fatigue Headaches Eye strain | Lighting sufficient for tasks. Supply of wholesome drinking water. Adequate welfare facilities for staff and service users. These are maintained in a clean state. Hot water, soap and disposable paper towels provided. Suitable sanitary disposal bins in place within female toilets and arrangements for sanitary waste collection in place. | Y | Y |
| Poor Water Quality | Staff Pupils Visitors Contractors | Infection / disease Coliforms, legionella etc | Premises in constant use so all water access points regularly maintained Air conditioning/heating unit checked bi-annually Tanks / calorifier sterilisation conducted if required. | Y | Y |

| Additional Control Measures (to take account of local/individual circumstances including changes such as working practices, equipment, staffing levels). | Action by Whom (list the name of the person/people who have been designated to conduct actions) | Action by When (set timescales for the completion of the actions – remember to prioritise them) | Action Completed (record the actual date of completion for each action listed) | Residual Risk Rating |
| --- | --- | --- | --- | --- |
| Externally. TOC : outside classroom Risk of tripping/slipping when crossing back yard | Staff Pupils Visitors Contractors | Cuts/abrasions, Muscular skeletal and other physical injuries | Yard kept clean at all times Salted in times of frost/ice/snow External lights checked Escape routes adequately lit | L |
| Gardens – pathways Risk of tripping/slipping/falling on pathways Pond | Staff Pupils Visitors Contractors | Cuts/abrasions, muscular, skeletal or other physical injury Drowning | Warning of steep slopes Warning of paths when wet Fenced to alert danger Signage | L |
| DATE OF REVIEW: Record actual date of review | COMMENTS: Record any comments reviewer wishes to make. Including recommendations for future reviews. |
| DATE OF REVIEW: | COMMENTS: |
| DATE OF REVIEW: | COMMENTS: |

| RESIDUAL RISK RATING | ACTION REQUIRED |
| --- | --- |
| VERY HIGH (VH) Strong likelihood of fatality / serious injury occurring | The activity must not take place at all. You must identify further controls to reduce the risk rating. |
| HIGH (H) Possibility of fatality/serious injury occurring | You must identify further controls to reduce the risk rating. Seek further advice, e.g. from your H&S Team |
| MEDIUM (M) Possibility of significant injury or over 3 day absence occurring | If it is not possible to lower risk further, you will need to consider the risk against the benefit. Monitor risk assessments at this rating more regularly and closely. |
| LOW (L) Possibility of minor injury only | No further action required. |

Bed and Breakfast Guests:

The property, Tresillian House, is the building where Students International Ltd is mainly located.  In order to safeguard our students from adults who may be staying upstairs, it has been arranged that the visitors use the back stairs for access and therefore will not come into contact with the students.